## Slide 1
18 digital condenser microbarographs released in 2019. Data is transmitted using the SeedLink protocol and stored in miniSEED format. A 4-channel multiplexer or Ethernet connection is used to collect data. Now preparing sites for their placement in the form of infrasound arrays. The images show the appearance of microbarographs and an example of recording.
The main task of the network is to monitor technogenic and natural activity and emergencies. At the same time, such a dense enough network can be successfully used to study the characteristics of the atmosphere.
The wind noise protection system is being improved.
It is planned to install microbarographs on the elements of the seismic array PS-45
Among the highlights of the current year:
- Eruption of Etna
- NATO exercises